## Sheet1
Multicolor fluorescence per particle calibration protocol
Labware needed:
OT2 Pipette P300 (Gen2)
Opentrons 24 Well Aluminum Block with NEST 1.5 mL Snapcap
(Optional) Opentrons 15 Tube Rack with Falcon 15 mL Conical
96 well microplate black with transparent flat bottom
Protocol materials:
sulforhodamine_1x
sulforhodamine_1x
cascade_blue_1x
microspheres_1x
PBS
Water
(Script) run_iGEM2022_rgb_od_libre.py
Protocol Steps:
Load the protocol script on the Opentrons App
1 | Look at the Opentons App instructions to set up the labware in the deck
2 | Place the calibrants and solvents. (Calibrants are placed in a small tuberack and solvents can optionally be placed in 15ml Tubes)
3
| Tube rack setup |  |  |  |  | if falcon,
|  | A1:sulforhodamine_1x | A2:fluorescein_1x | A3: cascade_blue_1x | A4: microspheres_1x |  | A1:PBS | A2:Water
|  | B1: PBS | B2: PBS | B3: PBS | B4: PBS
|  | C1: Water | C2: Water | C3: Water | C4: Water
Run the protocol script on the OT2 ()
4 | Collect the plate and place it in the plate reader
5